## ReadMe
Mapped GOLD Biosample Field Name | Those fields highlighted in 'gray' are not mapped to GOLD fields as such, but mapped to 'GOLD-package-specific' fields.

## MIxS-plant associated
Comments | S# | Mapping with GOLD, but with other than Biosample | Mapping with GOLD Biosample | Structured comment name | Item | Definition | Expected value | Value syntax | Example | Section | migs_eu | migs_ba | migs_pl | migs_vi | migs_org | me | mimarks_s | mimarks_c | misag | mimag | miuvig | Preferred unit | Occurence | Position | MIXS ID
| 33 |  | WATER_SIZE_FRAC_LOW WATER_SIZE_FRAC_HIGH | size_frac | size fraction selected | Filtering pore size used in sample preparation | filter size value range | {float}-{float} {unit} | 0-0.22 micrometer | nucleic acid sequence source | - | - | - | - | - | X | X | - | X | X | C |  | 1 | 33 | MIXS:0000017
| 159 |  | WATER_SAMP_STORE_TEMP | samp_store_temp | sample storage temperature | Temperature at which sample was stored, e.g. -80 degree Celsius | measurement value | {float} {unit} | -80 degree Celsius | plant-associated | X | X | X | X | X | X | X | X | X | X | X | degree Celsius | 1 | 1 | MIXS:0000584
| 158 |  | WATER_SAMP_STORE_LOC | samp_store_loc | sample storage location | Location at which sample was stored, usually name of a specific freezer/room | location name | {text} | Freezer no:5 | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001067
| 157 |  | WATER_SAMP_STORE_DUR | samp_store_dur | sample storage duration | Duration for which the sample was stored | duration | {duration} | P1Y6M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001066
| 137 |  | WATER_PERTURBATION | perturbation | perturbation | Type of perturbation, e.g. chemical administration, physical disturbance, etc., coupled with perturbation regimen including how many times the perturbation was repeated, how long each perturbation lasted, and the start and end time of the entire perturbation period; can include multiple perturbation types | perturbation type name;perturbation interval and duration | {text};{Rn/start_time/end_time/duration} | antibiotic addition;R2/2018-05-11T14:30Z/2018-05-11T19:30Z/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001055
| 135 |  | WATER_OXY_STAT_SAMPLE | oxy_stat_samp | oxygenation status of sample | Oxygenation status of sample | enumeration | [aerobic¦anaerobic¦other] | aerobic | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001054
| 134 |  | WATER_ORGANISM_COUNT | organism_count | organism count | Total cell count of any organism (or group of organisms) per gram, volume or area of sample, should include name of organism followed by count. The method that was used for the enumeration (e.g. qPCR, atp, mpn, etc.) Should also be provided. (example: total prokaryotes; 3.5e7 cells per ml; qpcr) | organism name;measurement value;enumeration | {text};{float} {unit};[qPCR¦ATP¦MPN¦other] | total prokaryotes;3.5e7 cells per milliliter;qPCR | plant-associated | X | X | X | X | X | X | X | X | X | X | X | number of cells per cubic meter, number of cells per milliliter, number of cells per cubic centimeter | m | 1 | MIXS:0000572
| 132 |  | WATER_MISC_PARAMETER SOIL_MISC_PARAM | misc_param | miscellaneous parameter | Any other measurement performed or parameter collected, that is not listed here | parameter name;measurement value | {text};{float} {unit} | Bicarbonate ion concentration;2075 micromole per kilogram | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001053
| 101 |  | WATER_CHEM_ADMINISTRATION | chem_administration | chemical administration | List of chemical compounds administered to the host or site where sampling occurred, and when (e.g. Antibiotics, n fertilizer, air filter); can include multiple compounds. For chemical entities of biological interest ontology (chebi) (v 163), http://purl.bioontology.org/ontology/chebi | CHEBI;timestamp | {termLabel} {[termID]}; {timestamp} | agar [CHEBI:2509];2018-05-11T20:00Z | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001039
| 103 |  | SOIL_LINK_CLIMATE_INFO | climate_environment | climate environment | Treatment involving an exposure to a particular climate; treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple climates | climate name;treatment interval and duration | {text};{Rn/start_time/end_time/duration} | tropical climate;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001040
| 31 |  | SAMPLING_STRATEGY | samp_collect_device | sample collection device or method | The method or device employed for collecting the sample | type name | {text} | biopsy, niskin bottle, push core | nucleic acid sequence source | X | X | X | X | X | C | C | X | C | C | C |  | 1 | 31 | MIXS:0000002
| 160 |  | SAMPLE_VOLUME and SAMPLE_WEIGHT_DNA_EXT | samp_vol_we_dna_ext | sample volume or weight for DNA extraction | Volume (ml), weight (g) of processed sample, or surface area swabbed from sample for DNA extraction | measurement value | {float} {unit} | 1500 milliliter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | millliter, gram, milligram, square centimeter | 1 | 1 | MIXS:0000585
| 9 |  | SAMPLE_COLLECTION_MONTH SAMPLE_COLLECTION_DAY SAMPLE_COLLECTION_YEAR SAMPLE_COLLECTION_HOUR SAMPLE_COLLECTION_MINUTE | collection_date | collection date | The time of sampling, either as an instance (single point in time) or interval. In case no exact time is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10; 2008-01-23; 2008-01; 2008; Except: 2008-01; 2008 all are ISO8601 compliant | date and time | {timestamp} | 2018-05-11T10:00:00+01:00 | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 9 | MIXS:0000011
| 34 | SOIL_SAMPLE_BIOMASS | SAMPLE_BIOMASS | samp_size | amount or size of sample collected | Amount or size of sample (volume, mass or area) that was collected | measurement value | {float} {unit} | 5 liter | nucleic acid sequence source | X | X | X | X | X | C | C | X | C | C | C | millliter, gram, milligram, liter | 1 | 34 | MIXS:0000001
| 126 |  | SAMPLE_BIOMASS | host_tot_mass | host total mass | Total mass of the host at collection, the unit depends on host | measurement value | {float} {unit} | 2500 gram | plant-associated | X | X | X | X | X | X | X | X | X | X | X | kilogram, gram | 1 | 1 | MIXS:0000566
| 156 |  | SALINITY_CONCENTRATION | samp_salinity | sample salinity | Salinity is the total concentration of all dissolved salts in a liquid or solid (in the form of an extract obtained by centrifugation) sample. While salinity can be measured by a complete chemical analysis, this method is difficult and time consuming. More often, it is instead derived from the conductivity measurement. This is known as practical salinity. These derivations compare the specific conductance of the sample to a salinity standard such as seawater | measurement value | {float} {unit} | 1 milligram per liter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter, practical salinity unit, percentage | 1 | 1 | MIXS:0000583
| 5 |  | LATITUDE and LONGITUDE | lat_lon | geographic location (latitude and longitude) | The geographical origin of the sample as defined by latitude and longitude. The values should be reported in decimal degrees and in WGS84 system | decimal degrees | {float} {float} | 50.586825 6.408977 | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 5 | MIXS:0000009
| 19 |  | ISOLATION_PUBLICATION_ID | ref_biomaterial | reference for biomaterial | Primary publication if isolated before genome publication; otherwise, primary genome report | PMID, DOI or URL | {PMID}¦{DOI}¦{URL} | doi:10.1016/j.syapm.2018.01.009 | nucleic acid sequence source | X | M | X | X | X | X | - | - | X | X | X |  | 1 | 19 | MIXS:0000025
| 30 |  | ISOLATION_PUBLICATION_ID | isol_growth_condt | isolation and growth condition | Publication reference in the form of pubmed ID (pmid), digital object identifier (doi) or url for isolation and growth condition specifications of the organism/material | PMID,DOI or URL | {PMID}¦{DOI}¦{URL} | doi: 10.1016/j.syapm.2018.01.009 | nucleic acid sequence source | M | M | M | M | M | - | - | M | - | - | - |  | 1 | 30 | MIXS:0000003
| 20 |  | IDENTIFIER | source_mat_id | source material identifiers | A unique identifier assigned to a material sample (as defined by http://rs.tdwg.org/dwc/terms/materialSampleID, and as opposed to a particular digital record of a material sample) used for extracting nucleic acids, and subsequent sequencing. The identifier can refer either to the original material collected or to any derived sub-samples. The INSDC qualifiers /specimen_voucher, /bio_material, or /culture_collection may or may not share the same value as the source_mat_id field. For instance, the /specimen_voucher qualifier and source_mat_id may both contain 'UAM:Herps:14' , referring to both the specimen voucher and sampled tissue with the same identifier. However, the /culture_collection qualifier may refer to a value from an initial culture (e.g. ATCC:11775) while source_mat_id would refer to an identifier from some derived culture from which the nucleic acids were extracted (e.g. xatc123 or ark:/2154/R2). | for cultures of microorganisms: identifiers for two culture collections; for other material a unique arbitrary identifer | {text} | MPI012345 | nucleic acid sequence source | C | C | C | C | C | C | C | C | C | C | C |  | m | 20 | MIXS:0000026
| 23 |  | HOST_TAXONOMY_ID | specific_host | specific host | If there is a host involved, please provide its taxid (or environmental if not actually isolated from the dead or alive host - i.e. a pathogen could be isolated from a swipe of a bench etc) and report whether it is a laboratory or natural host) | host taxid, unknown, environmental | {NCBI taxid}¦{text} | 9606 | nucleic acid sequence source | X | C | C | C | - | - | - | - | - | - | X |  | 1 | 23 | MIXS:0000029
| 24 |  | HOST_TAXONOMY_ID | host_spec_range | host specificity or range | The NCBI taxonomy identifier of the specific host if it is known | NCBI taxid | {integer} | 9606 | nucleic acid sequence source | X | X | X | C | - | - | - | - | - | - | X |  | 1 | 24 | MIXS:0000030
| 125 |  | HOST_TAXONOMY_ID | host_taxid | host taxid | NCBI taxon id of the host, e.g. 9606 | NCBI taxon identifier | {NCBI taxid} | 4530 | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001051
| 115 |  | HOST_NAME | host_common_name | host common name | Common name of the host, e.g. Human | common name | {text} | rice | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001045
| 116 |  | HOST_HEALTH_CONDITION CVDISEASE (This field name is matching but the list of diseases for plants should be given) | host_disease_stat | host disease status | List of diseases with which the host has been diagnosed; can include multiple diagnoses. The value of the field depends on host; for humans the terms should be chosen from do (disease ontology) at http://www.disease-ontology.org, other hosts are free text | disease name or DO | {text}¦{termLabel} {[termID]} | downy mildew | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001046
| 25 |  | HOST_HEALTH_CONDITION | health_disease_stat | health or disease status of specific host at time of collection | Health or disease status of specific host at time of collection | enumeration | [healthy¦diseased¦dead¦disease-free¦undetermined¦recovering¦resolving¦pre-existing condition¦pathological¦life threatening¦congenital] | dead | nucleic acid sequence source | X | C | - | C | - | - | - | - | - | - | - |  | 1 | 25 | MIXS:0000031
| 141 |  | HOST_GENDER | plant_sex | plant sex | Sex of the reproductive parts on the whole plant, e.g. pistillate, staminate, monoecieous, hermaphrodite. | enumeration | [Androdioecious¦Androecious¦Androgynous¦Androgynomonoecious¦Andromonoecious¦Bisexual¦Dichogamous¦Diclinous¦Dioecious¦Gynodioecious¦Gynoecious¦Gynomonoecious¦Hermaphroditic¦Imperfect¦Monoclinous¦Monoecious¦Perfect¦Polygamodioecious¦Polygamomonoecious¦Polygamous¦Protandrous¦Protogynous¦Subandroecious¦Subdioecious¦Subgynoecious¦Synoecious¦Trimonoecious¦Trioecious¦Unisexual] | Hermaphroditic | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001059
| 140 |  | HOST_BODY_PRODUCT | plant_product | plant product | Substance produced by the plant, where the sample was obtained from | product name | {text} | xylem sap [PO:0025539] | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001058
| 114 |  | HOST_AGE | host_age | host age | Age of host at the time of sampling; relevant scale depends on species and study, e.g. Could be seconds for amoebae or centuries for trees | value | {float} {unit} | 10 days | plant-associated | X | X | X | X | X | X | X | X | X | X | X | year, day, hour | 1 | 1 | MIXS:0000562
| 163 |  | GROWTH_TEMPERATURE GROWTH_TEMPERATURE2 | temp | temperature | Temperature of the sample at the time of sampling | measurement value | {float} {unit} | 25 degree Celsius | plant-associated | X | X | X | X | X | X | X | X | X | X | X | degree Celsius | 1 | 1 | MIXS:0000588
| 8 |  | GEOGRAPHIC_LOCATION | geo_loc_name | geographic location (country and/or sea,region) | The geographical origin of the sample as defined by the country or sea name followed by specific region name. Country or sea names should be chosen from the INSDC country list (http://insdc.org/country.html), or the GAZ ontology (v 1.512) (http://purl.bioontology.org/ontology/GAZ) | country or sea name (INSDC or GAZ);region(GAZ);specific location name | {term};{term};{text} | Germany;North Rhine-Westphalia;Eifel National Park | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 8 | MIXS:0000010
| 13 |  | ENV_PACKAGE | env_package | environmental package | MIxS extension for reporting of measurements and observations obtained from one or more of the environments where the sample was obtained. All environmental packages listed here are further defined in separate subtables. By giving the name of the environmental package, a selection of fields can be made from the subtables and can be reported | enumeration | [air¦built environment¦host-associated¦human-associated¦human-skin¦human-oral¦human-gut¦human-vaginal¦hydrocarbon resources-cores¦hydrocarbon resources-fluids/swabs¦microbial mat/biofilm¦misc environment¦plant-associated¦sediment¦soil¦wastewater/sludge¦water] | soil | mixs extension | C | C | C | C | C | C | C | C | C | C | C |  | 1 | 13 | MIXS:0000019
| 7 |  | ELEVATION ELEVATION2 | alt_elev | geographic location (altitude/elevation) | Please refer to the definitions of either altitude or elevation in the environmental packages | - | - |  | environment | E | E | E | E | E | E | E | E | E | E | E |  | 0 | 7 | MIXS:0000093
| 95 |  | ELEVATION ELEVATION2 | elev | elevation | Elevation of the sampling site is its height above a fixed reference point, most commonly the mean sea level. Elevation is mainly used when referring to points on the earth's surface, while altitude is used for points above the surface, such as an aircraft in flight or a spacecraft in orbit | measurement value | {float} {unit} | 100 meter | plant-associated | C | C | C | C | C | C | C | C | C | C | C | meter | 1 | 0 | MIXS:0000550
| 6 |  | DEPTH DEPTH2 | depth | geographic location (depth) | Please refer to the definitions of depth in the environmental packages | - | - |  | environment | E | E | E | E | E | E | E | E | E | E | E |  | 0 | 6 | MIXS:0000018
| 94 |  | DEPTH DEPTH2 | depth | depth | Depth is defined as the vertical distance below local surface, e.g. For sediment or soil samples depth is measured from sediment or soil surface, respectively. Depth can be reported as an interval for subsurface samples | measurement value | {float} {unit} | 10 meter | plant-associated | C | C | C | C | C | C | C | C | C | C | C | meter | 1 | 0 | MIXS:0000549
| 42 | VECTOR |  | lib_vector | library vector | Cloning vector type(s) used in construction of libraries | vector | {text} | Bacteriophage P1 | sequencing | X | X | X | X | X | C | C | - | C | C | C |  | 1 | 42 | MIXS:0000042
| 14 | SEROVAR |  | subspecf_gen_lin | subspecific genetic lineage | This should provide further information about the genetic distinctness of the sequenced organism by recording additional information e.g. serovar, serotype, biotype, ecotype, or any relevant genetic typing schemes like Group I plasmid. It can also contain alternative taxonomic information. It should contain both the lineage name, and the lineage rank, i.e. biovar:abc123 | genetic lineage below lowest rank of NCBI taxonomy, which is subspecies, e.g. serovar, biotype, ecotype | {rank name}:{text} | serovar:Newport | nucleic acid sequence source | C | C | C | C | C | - | - | C | - | - | - |  | 1 | 14 | MIXS:0000020
| 2 | SEQUENCING_STRATEGY_FULL |  | investigation_type | investigation type | Nucleic Acid Sequence Report is the root element of all MIGS/MIMS compliant reports as standardized by Genomic Standards Consortium. This field is either eukaryote,bacteria,virus,plasmid,organelle, metagenome,mimarks-survey, mimarks-specimen, metatranscriptome, single amplified genome, metagenome-assembled genome, or uncultivated viral genome | eukaryote, bacteria_archaea, plasmid, virus, organelle, metagenome,mimarks-survey, mimarks-specimen, metatranscriptome, single amplified genome, metagenome-assembled genome, or uncultivated viral genomes | [eukaryote¦bacteria_archaea¦plasmid¦virus¦organelle¦metagenome¦metatranscriptome¦mimarks-survey¦mimarks-specimen¦misag¦mimag¦miuvig] | metagenome | investigation | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 2 | MIXS:0000007
| 35 | SEQUENCING_STRATEGY ANALYSIS_PROJECT_TYPE |  | source_uvig | source of UViGs | Type of dataset from which the UViG was obtained | enumeration | [metagenome (not viral targeted)¦viral fraction metagenome (virome)¦sequence-targeted metagenome¦metatranscriptome (not viral targeted)¦viral fraction RNA metagenome (RNA virome)¦sequence-targeted RNA metagenome¦microbial single amplified genome (SAG)¦viral single amplified genome (vSAG)¦isolate microbial genome¦other] | viral fraction metagenome (virome) | nucleic acid sequence source | - | - | - | - | - | - | - | - | - | - | M |  | 1 | 35 | MIXS:0000035
| 39 | READ_SIZE |  | lib_size | library size | Total number of clones in the library prepared for the project | number of clones | {integer} | 50 | sequencing | X | X | X | X | X | C | C | - | C | C | C |  | 1 | 39 | MIXS:0000039
| 40 | READ_COUNT |  | lib_reads_seqd | library reads sequenced | Total number of clones sequenced from the library | number of reads sequenced | {integer} | 20 | sequencing | X | X | X | X | X | C | C | - | C | C | C |  | 1 | 40 | MIXS:0000040
| 50 | PROJECT_SEQUENCING_METHOD (Sequencing Technology, on GOLD UI) |  | seq_meth | sequencing method | Sequencing method used; e.g. Sanger, pyrosequencing, ABI-solid | enumeration | [MinION¦GridION¦PromethION¦454 GS¦454 GS 20¦454 GS FLX¦454 GS FLX+¦454 GS FLX Titanium¦454 GS Junior¦Illumina Genome Analyzer¦Illumina Genome Analyzer II¦Illumina Genome Analyzer IIx¦Illumina HiSeq 4000¦Illumina HiSeq 3000¦Illumina HiSeq 2500¦Illumina HiSeq 2000¦Illumina HiSeq 1500¦Illumina HiSeq 1000¦Illumina HiScanSQ¦Illumina MiSeq¦Illumina HiSeq X Five¦Illumina HiSeq X Ten¦Illumina NextSeq 500¦Illumina NextSeq 550¦AB SOLiD System¦AB SOLiD System 2.0¦AB SOLiD System 3.0¦AB SOLiD 3 Plus System¦AB SOLiD 4 System¦AB SOLiD 4hq System¦AB SOLiD PI System¦AB 5500 Genetic Analyzer¦AB 5500xl Genetic Analyzer¦AB 5500xl-W Genetic Analysis System¦Ion Torrent PGM¦Ion Torrent Proton¦Ion Torrent S5¦Ion Torrent S5 XL¦PacBio RS¦PacBio RS II¦Sequel¦AB 3730xL Genetic Analyzer¦AB 3730 Genetic Analyzer¦AB 3500xL Genetic Analyzer¦AB 3500 Genetic Analyzer¦AB 3130xL Genetic Analyzer¦AB 3130 Genetic Analyzer¦AB 310 Genetic Analyzer¦BGISEQ-500] | Illumina HiSeq 1500 | sequencing | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 50 | MIXS:0000050
| 3 | PROJECT_NAME |  | project_name | project name | Name of the project within which the sequencing was organized |  | {text} | Forest soil metagenome | investigation | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 3 | MIXS:0000092
| 17 | PLASMID_COUNT |  | extrachrom_elements | extrachromosomal elements | Do plasmids exist of significant phenotypic consequence (e.g. ones that determine virulence or antibiotic resistance). Megaplasmids? Other plasmids (borrelia has 15+ plasmids) | number of extrachromosmal elements | {integer} | 5 | nucleic acid sequence source | X | C | - | - | C | - | - | X | - | - | - |  | 1 | 17 | MIXS:0000023
| 57 | PIPELINE_ANNOTATION_METHOD |  | annot | annotation | Tool used for annotation, or for cases where annotation was provided by a community jamboree or model organism database rather than by a specific submitter | name of tool or pipeline used, or annotation source description | {text} | prokka | sequencing | C | C | C | C | C | C | - | - | X | X | X |  | 1 | 57 | MIXS:0000059
| 29 | OXYGEN_REQUIREMENT |  | rel_to_oxygen | relationship to oxygen | Is this organism an aerobe, anaerobe? Please note that aerobic and anaerobic are valid descriptors for microbial environments | enumeration | [aerobe¦anaerobe¦facultative¦microaerophilic¦microanaerobe¦obligate aerobe¦obligate anaerobe] | aerobe | nucleic acid sequence source | - | C | - | - | - | X | X | C | X | X | - |  | 1 | 29 | MIXS:0000015
| 59 | GENE_CALLING_METHOD |  | feat_pred | feature prediction | Method used to predict UViGs features such as ORFs, integration site, etc. | names and versions of software(s), parameters used | {software};{version};{parameters} | Prodigal;2.6.3;default parameters | sequencing | X | X | X | X | X | X | - | - | X | X | C |  | 1 | 59 | MIXS:0000061
| 4 | EXPERIMENTAL_CONDITIONS |  | experimental_factor | experimental factor | Experimental factors are essentially the variable aspects of an experiment design which can be used to describe an experiment, or set of experiments, in an increasingly detailed manner. This field accepts ontology terms from Experimental Factor Ontology (EFO) and/or Ontology for Biomedical Investigations (OBI). For a browser of EFO (v 2.95) terms, please see http://purl.bioontology.org/ontology/EFO; for a browser of OBI (v 2018-02-12) terms please see http://purl.bioontology.org/ontology/OBI | text or EFO and/or OBI | {termLabel} {[termID]}¦{text} | time series design [EFO:EFO_0001779] | investigation | X | X | X | X | X | C | C | X | C | C | C |  | 1 | 4 | MIXS:0000008
| 18 | EST_SIZE |  | estimated_size | estimated size | The estimated size of the genome prior to sequencing. Of particular importance in the sequencing of (eukaryotic) genome which could remain in draft form for a long or unspecified period. | number of base pairs | {integer} bp | 300000 bp | nucleic acid sequence source | X | X | X | X | X | - | - | - | - | - | X |  | 1 | 18 | MIXS:0000024
| 73 | DECONTAMINATION_METHOD |  | decontam_software | decontamination software | Tool(s) used in contamination screening | enumeration | [checkm/refinem¦anvi'o¦prodege¦bbtools:decontaminate.sh¦acdc¦combination] | anvi'o | sequencing | - | - | - | - | - | - | - | - | X | X | - |  | 1 | 73 | MIXS:0000074
| 54 | CVSEQ_QUALITY |  | assembly_qual | assembly quality | The assembly quality category is based on sets of criteria outlined for each assembly quality category. For MISAG/MIMAG; Finished: Single, validated, contiguous sequence per replicon without gaps or ambiguities with a consensus error rate equivalent to Q50 or better. High Quality Draft:Multiple fragments where gaps span repetitive regions. Presence of the 23S, 16S and 5S rRNA genes and at least 18 tRNAs. Medium Quality Draft:Many fragments with little to no review of assembly other than reporting of standard assembly statistics. Low Quality Draft:Many fragments with little to no review of assembly other than reporting of standard assembly statistics. Assembly statistics include, but are not limited to total assembly size, number of contigs, contig N50/L50, and maximum contig length. For MIUVIG; Finished: Single, validated, contiguous sequence per replicon without gaps or ambiguities, with extensive manual review and editing to annotate putative gene functions and transcriptional units. High-quality draft genome: One or multiple fragments, totaling ≥ 90% of the expected genome or replicon sequence or predicted complete. Genome fragment(s): One or multiple fragments, totalling < 90% of the expected genome or replicon sequence, or for which no genome size could be estimated | enumeration | [Finished genome¦High-quality draft genome¦Medium-quality draft genome¦Low-quality draft genome¦Genome fragment(s)] | High-quality draft genome | sequencing | M | M | X | X | X | C | - | - | M | M | M |  | 1 | 54 | MIXS:0000056
| 26 | CVENERGY_SOURCE |  | trophic_level | trophic level | Trophic levels are the feeding position in a food chain. Microbes can be a range of producers (e.g. chemolithotroph) | enumeration | [autotroph¦carboxydotroph¦chemoautotroph¦chemoheterotroph¦chemolithoautotroph¦chemolithotroph¦chemoorganoheterotroph¦chemoorganotroph¦chemosynthetic¦chemotroph¦copiotroph¦diazotroph¦facultative¦autotroph¦heterotroph¦lithoautotroph¦lithoheterotroph¦lithotroph¦methanotroph¦methylotroph¦mixotroph¦obligate¦chemoautolithotroph¦oligotroph¦organoheterotroph¦organotroph¦photoautotroph¦photoheterotroph¦photolithoautotroph¦photolithotroph¦photosynthetic¦phototroph] | heterotroph | nucleic acid sequence source | C | C | - | - | - | - | - | C | - | - | - |  | 1 | 26 | MIXS:0000032
| 58 | CONTIG_COUNT |  | number_contig | number of contigs | Total number of contigs in the cleaned/submitted assembly that makes up a given genome, SAG, MAG, or UViG | value | {integer} | 40 | sequencing | M | M | X | X | X | C | - | - | X | X | M |  | 1 | 58 | MIXS:0000060
| 70 | CONTAMINATION_PERCENTAGE |  | contam_score | contamination score | The contamination score is based on the fraction of single-copy genes that are observed more than once in a query genome. The following scores are acceptable for; High Quality Draft: < 5%, Medium Quality Draft: < 10%, Low Quality Draft: < 10%. Contamination must be below 5% for a SAG or MAG to be deposited into any of the public databases | value | {float} percentage | 1% | sequencing | - | - | - | - | - | - | - | - | M | M | - |  | 1 | 70 | MIXS:0000072
| 67 | COMPLETENESS_PERCENTAGE/ CVSEQ_QUALITY |  | compl_score | completeness score | Completeness score is typically based on either the fraction of markers found as compared to a database or the percent of a genome found as compared to a closely related reference genome. High Quality Draft: >90%, Medium Quality Draft: >50%, and Low Quality Draft: < 50% should have the indicated completeness scores | quality;percent completeness | [high¦med¦low];{percentage} | med;60% | sequencing | X | X | X | X | X | - | - | - | M | M | C |  | 1 | 67 | MIXS:0000069
| 22 | BIOTIC_RELATIONSHIP |  | biotic_relationship | observed biotic relationship | Description of relationship(s) between the subject organism and other organism(s) it is associated with. E.g., parasite on species X; mutualist with species Y. The target organism is the subject of the relationship, and the other organism(s) is the object | enumeration | [free living¦parasitism¦commensalism¦symbiotic¦mutualism] | free living | nucleic acid sequence source | X | C | - | X | - | - | - | C | - | - | X |  | 1 | 22 | MIXS:0000028
| 80 | BINNING_METHOD |  | bin_software | binning software | Tool(s) used for the extraction of genomes from metagenomic datasets | enumeration | [metabat¦maxbin¦concoct¦groupm¦esom¦metawatt¦combination¦other] | concoct and maxbin | sequencing | - | - | - | - | - | - | - | - | - | M | C |  | 1 | 80 | MIXS:0000078
| 55 | ASSEMBLY_ACCESSION |  | assembly_name | assembly name | Name/version of the assembly provided by the submitter that is used in the genome browsers and in the community | name and version of assembly | {text} {text} | HuRef, JCVI_ISG_i3_1.0 | sequencing | C | C | C | C | C | C | - | - | C | C | C |  | 1 | 55 | MIXS:0000057
| 56 | (Assembly Method, on GOLD UI) - ASSEMBLY |  | assembly_software | assembly software | Tool(s) used for assembly, including version number and parameters | name and version of software, parameters used | {software};{version};{parameters} | metaSPAdes;3.11.0;kmer set 21,33,55,77,99,121, default parameters otherwise | sequencing | M | M | M | M | M | C | C | - | M | M | M |  | m | 56 | MIXS:0000058
| 1 |  |  | submitted_to_insdc | submitted to insdc | Depending on the study (large-scale e.g. done with next generation sequencing technology, or small-scale) sequences have to be submitted to SRA (Sequence Read Archive), DRA (DDBJ Read Archive) or via the classical Webin/Sequin systems to Genbank, ENA and DDBJ. Although this field is mandatory, it is meant as a self-test field, therefore it is not necessary to include this field in contextual data submitted to databases | boolean | {boolean} | yes | investigation | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 1 | MIXS:0000004
It is an ENVO term | 10 |  |  | env_broad_scale | broad-scale environmental context | In this field, report which major environmental system your sample or specimen came from. The systems identified should have a coarse spatial grain, to provide the general environmental context of where the sampling was done (e.g. were you in the desert or a rainforest?). We recommend using subclasses of ENVO’s biome class: http://purl.obolibrary.org/obo/ENVO_00000428. Format (one term): termLabel [termID], Format (multiple terms): termLabel [termID]¦termLabel [termID]¦termLabel [termID]. Example: Annotating a water sample from the photic zone in middle of the Atlantic Ocean, consider: oceanic epipelagic zone biome [ENVO:01000033]. Example: Annotating a sample from the Amazon rainforest consider: tropical moist broadleaf forest biome [ENVO:01000228]. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Add terms that identify the major environment type(s) where your sample was collected. Recommend subclasses of biome [ENVO:00000428]. Multiple terms can be separated by one or more pipes e.g.: mangrove biome [ENVO:01000181]¦estuarine biome [ENVO:01000020] | {termLabel} {[termID]} | forest biome [ENVO:01000174] | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 10 | MIXS:0000012
It is an ENVO term | 11 |  |  | env_local_scale | local environmental context | In this field, report the entity or entities which are in your sample or specimen’s local vicinity and which you believe have significant causal influences on your sample or specimen. Please use terms that are present in ENVO and which are of smaller spatial grain than your entry for env_broad_scale. Format (one term): termLabel [termID]; Format (multiple terms): termLabel [termID]¦termLabel [termID]¦termLabel [termID]. Example: Annotating a pooled sample taken from various vegetation layers in a forest consider: canopy [ENVO:00000047]¦herb and fern layer [ENVO:01000337]¦litter layer [ENVO:01000338]¦understory [01000335]¦shrub layer [ENVO:01000336]. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Add terms that identify environmental entities having causal influences upon the entity at time of sampling, multiple terms can be separated by pipes, e.g.: shoreline [ENVO:00000486]¦intertidal zone [ENVO:00000316] | {termLabel} {[termID]} | litter layer [ENVO:01000338] | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 11 | MIXS:0000013
It is an ENVO term | 12 |  |  | env_medium | environmental medium | In this field, report which environmental material or materials (pipe separated) immediately surrounded your sample or specimen prior to sampling, using one or more subclasses of ENVO’s environmental material class: http://purl.obolibrary.org/obo/ENVO_00010483. Format (one term): termLabel [termID]; Format (multiple terms): termLabel [termID]¦termLabel [termID]¦termLabel [termID]. Example: Annotating a fish swimming in the upper 100 m of the Atlantic Ocean, consider: ocean water [ENVO:00002151]. Example: Annotating a duck on a pond consider: pond water [ENVO:00002228]¦air ENVO_00002005. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Add terms that identify the material displaced by the entity at time of sampling. Recommend subclasses of environmental material [ENVO:00010483]. Multiple terms can be separated by pipes e.g.: estuarine water [ENVO:01000301]¦estuarine mud [ENVO:00002160] | {termLabel} {[termID]} | soil [ENVO:00001998] | environment | M | M | M | M | M | M | M | M | M | M | M |  | 1 | 12 | MIXS:0000014
| 15 |  |  | ploidy | ploidy | The ploidy level of the genome (e.g. allopolyploid, haploid, diploid, triploid, tetraploid). It has implications for the downstream study of duplicated gene and regions of the genomes (and perhaps for difficulties in assembly). For terms, please select terms listed under class ploidy (PATO:001374) of Phenotypic Quality Ontology (PATO), and for a browser of PATO (v 2018-03-27) please refer to http://purl.bioontology.org/ontology/PATO | PATO | {termLabel} {[termID]} | allopolyploidy [PATO:0001379] | nucleic acid sequence source | X | - | - | - | - | - | - | - | - | - | - |  | 1 | 15 | MIXS:0000021
| 16 |  |  | num_replicons | number of replicons | Reports the number of replicons in a nuclear genome of eukaryotes, in the genome of a bacterium or archaea or the number of segments in a segmented virus. Always applied to the haploid chromosome count of a eukaryote | for eukaryotes and bacteria: chromosomes (haploid count); for viruses: segments | {integer} | 2 | nucleic acid sequence source | X | M | - | C | - | - | - | - | - | - | - |  | 1 | 16 | MIXS:0000022
| 21 |  |  | pathogenicity | known pathogenicity | To what is the entity pathogenic | names of organisms that the entity is pathogenic to | {text} | human, animal, plant, fungi, bacteria | nucleic acid sequence source | C | C | - | C | - | - | - | - | - | - | X |  | 1 | 21 | MIXS:0000027
| 27 |  |  | propagation | propagation | This field is specific to different taxa. For phages: lytic/lysogenic, for plasmids: incompatibility group, for eukaryotes: sexual/asexual (Note: there is the strong opinion to name phage propagation obligately lytic or temperate, therefore we also give this choice | for virus: lytic, lysogenic, temperate, obligately lytic; for plasmid: incompatibility group; for eukaryote: asexual, sexual | {text} | lytic | nucleic acid sequence source | C | - | M | M | - | - | - | - | - | - | - |  | 1 | 27 | MIXS:0000033
| 28 |  |  | encoded_traits | encoded traits | Should include key traits like antibiotic resistance or xenobiotic degradation phenotypes for plasmids, converting genes for phage | for plasmid: antibiotic resistance; for phage: converting genes | {text} | beta-lactamase class A | nucleic acid sequence source | - | X | C | C | - | - | - | - | - | - | - |  | 1 | 28 | MIXS:0000034
| 32 |  |  | samp_mat_process | sample material processing | Any processing applied to the sample during or after retrieving the sample from environment. This field accepts OBI, for a browser of OBI (v 2018-02-12) terms please see http://purl.bioontology.org/ontology/OBI | text or OBI | {text}¦{termLabel} {[termID]} | filtering of seawater, storing samples in ethanol | nucleic acid sequence source | X | X | X | X | X | C | C | C | C | C | C |  | 1 | 32 | MIXS:0000016
| 36 |  |  | virus_enrich_appr | virus enrichment approach | List of approaches used to enrich the sample for viruses, if any | enumeration | [filtration¦ultrafiltration¦centrifugation¦ultracentrifugation¦PEG Precipitation¦FeCl Precipitation¦CsCl density gradient¦DNAse¦RNAse¦targeted sequence capture¦other¦none] | filtration + FeCl Precipitation + ultracentrifugation + DNAse | nucleic acid sequence source | - | - | - | C | - | - | - | - | - | - | M |  | 1 | 36 | MIXS:0000036
| 37 |  |  | nucl_acid_ext | nucleic acid extraction | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the material separation to recover the nucleic acid fraction from a sample | PMID, DOI or URL | {PMID}¦{DOI}¦{URL} | https://mobio.com/media/wysiwyg/pdfs/protocols/12888.pdf | sequencing | C | C | C | C | C | C | C | C | C | C | C |  | 1 | 37 | MIXS:0000037
| 38 |  |  | nucl_acid_amp | nucleic acid amplification | A link to a literature reference, electronic resource or a standard operating procedure (SOP), that describes the enzymatic amplification (PCR, TMA, NASBA) of specific nucleic acids | PMID, DOI or URL | {PMID}¦{DOI}¦{URL} | https://phylogenomics.me/protocols/16s-pcr-protocol/ | sequencing | C | C | C | C | C | C | C | C | C | C | C |  | 1 | 38 | MIXS:0000038
| 41 |  |  | lib_layout | library layout | Specify whether to expect single, paired, or other configuration of reads | enumeration | [paired¦single¦vector¦other] | paired | sequencing | X | X | X | X | X | C | C | - | C | C | C |  | 1 | 41 | MIXS:0000041
| 43 |  |  | lib_screen | library screening strategy | Specific enrichment or screening methods applied before and/or after creating libraries | screening strategy name | {text} | enriched, screened, normalized | sequencing | X | X | X | X | X | C | C | - | C | C | C |  | 1 | 43 | MIXS:0000043
| 44 |  |  | target_gene | target gene | Targeted gene or locus name for marker gene studies | gene name | {text} | 16S rRNA, 18S rRNA, nif, amoA, rpo | sequencing | - | - | - | - | - | - | M | M | - | - | - |  | 1 | 44 | MIXS:0000044
| 45 |  |  | target_subfragment | target subfragment | Name of subfragment of a gene or locus. Important to e.g. identify special regions on marker genes like V6 on 16S rRNA | gene fragment name | {text} | V6, V9, ITS | sequencing | - | - | - | - | - | - | C | C | - | - | - |  | 1 | 45 | MIXS:0000045
| 46 |  |  | pcr_primers | pcr primers | PCR primers that were used to amplify the sequence of the targeted gene, locus or subfragment. This field should contain all the primers used for a single PCR reaction if multiple forward or reverse primers are present in a single PCR reaction. The primer sequence should be reported in uppercase letters | FWD: forward primer sequence;REV:reverse primer sequence | FWD:{dna};REV:{dna} | FWD:GTGCCAGCMGCCGCGGTAA;REV:GGACTACHVGGGTWTCTAAT | sequencing | - | - | - | - | - | - | C | C | - | - | - |  | 1 | 46 | MIXS:0000046
| 47 |  |  | mid | multiplex identifiers | Molecular barcodes, called Multiplex Identifiers (MIDs), that are used to specifically tag unique samples in a sequencing run. Sequence should be reported in uppercase letters | multiplex identifier sequence | {dna} | GTGAATAT | sequencing | - | - | - | - | - | C | C | - | C | C | C |  | 1 | 47 | MIXS:0000047
| 48 |  |  | adapters | adapters | Adapters provide priming sequences for both amplification and sequencing of the sample-library fragments. Both adapters should be reported; in uppercase letters | adapter A and B sequence | {dna};{dna} | AATGATACGGCGACCACCGAGATCTACACGCT;CAAGCAGAAGACGGCATACGAGAT | sequencing | C | C | C | C | C | C | C | - | C | C | C |  | 1 | 48 | MIXS:0000048
| 49 |  |  | pcr_cond | pcr conditions | Description of reaction conditions and components of PCR in the form of 'initial denaturation:94degC_1.5min; annealing=...' | initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles | initial denaturation:degrees_minutes;annealing:degrees_minutes;elongation:degrees_minutes;final elongation:degrees_minutes;total cycles | initial denaturation:94_3;annealing:50_1;elongation:72_1.5;final elongation:72_10;35 | sequencing | - | - | - | - | - | - | C | C | - | - | - |  | 1 | 49 | MIXS:0000049
| 51 |  |  | seq_quality_check | sequence quality check | Indicate if the sequence has been called by automatic systems (none) or undergone a manual editing procedure (e.g. by inspecting the raw data or chromatograms). Applied only for sequences that are not submitted to SRA,ENA or DRA | none or manually edited | [none¦manually edited] | none | sequencing | - | - | - | - | - | - | C | C | - | - | - |  | 1 | 51 | MIXS:0000051
| 52 |  |  | chimera_check | chimera check | A chimeric sequence, or chimera for short, is a sequence comprised of two or more phylogenetically distinct parent sequences. Chimeras are usually PCR artifacts thought to occur when a prematurely terminated amplicon reanneals to a foreign DNA strand and is copied to completion in the following PCR cycles. The point at which the chimeric sequence changes from one parent to the next is called the breakpoint or conversion point | name and version of software, parameters used | {software};{version};{parameters} | uchime;v4.1;default parameters | sequencing | - | - | - | - | - | - | C | C | - | - | - |  | 1 | 52 | MIXS:0000052
| 53 |  |  | tax_ident | taxonomic identity marker | The phylogenetic marker(s) used to assign an organism name to the SAG or MAG | enumeration | [16S rRNA gene¦multi-marker approach¦other] | other: rpoB gene | sequencing | C | C | C | C | C | - | - | - | M | M | X |  | 1 | 53 | MIXS:0000053
| 60 |  |  | ref_db | reference database(s) | List of database(s) used for ORF annotation, along with version number and reference to website or publication | names, versions, and references of databases | {database};{version};{reference} | pVOGs;5;http://dmk-brain.ecn.uiowa.edu/pVOGs/ Grazziotin et al. 2017 doi:10.1093/nar/gkw975 | sequencing | X | X | X | X | X | X | - | - | X | X | C |  | 1 | 60 | MIXS:0000062
| 61 |  |  | sim_search_meth | similarity search method | Tool used to compare ORFs with database, along with version and cutoffs used | names and versions of software(s), parameters used | {software};{version};{parameters} | HMMER3;3.1b2;hmmsearch, cutoff of 50 on score | sequencing | X | X | X | X | X | X | - | - | X | X | C |  | 1 | 61 | MIXS:0000063
| 62 |  |  | tax_class | taxonomic classification | Method used for taxonomic classification, along with reference database used, classification rank, and thresholds used to classify new genomes | classification method, database name, and other parameters | {text} | vConTACT vContact2 (references from NCBI RefSeq v83, genus rank classification, default parameters) | sequencing | X | X | X | X | X | X | - | - | X | X | C |  | 1 | 62 | MIXS:0000064
| 63 |  |  | 16s_recover | 16S recovered | Can a 16S gene be recovered from the submitted SAG or MAG? | boolean | {boolean} | yes | sequencing | - | - | - | - | - | - | - | - | X | X | - |  | 1 | 63 | MIXS:0000065
| 64 |  |  | 16s_recover_software | 16S recovery software | Tools used for 16S rRNA gene extraction | names and versions of software(s), parameters used | {software};{version};{parameters} | rambl;v2;default parameters | sequencing | - | - | - | - | - | - | - | - | X | X | - |  | 1 | 64 | MIXS:0000066
| 65 |  |  | trnas | number of standard tRNAs extracted | The total number of tRNAs identified from the SAG or MAG | value from 0-21 | {integer} | 18 | sequencing | - | - | - | - | - | - | - | - | X | X | X |  | 1 | 65 | MIXS:0000067
| 66 |  |  | trna_ext_software | tRNA extraction software | Tools used for tRNA identification | names and versions of software(s), parameters used | {software};{version};{parameters} | infernal;v2;default parameters | sequencing | - | - | - | - | - | - | - | - | X | X | X |  | 1 | 66 | MIXS:0000068
| 68 |  |  | compl_software | completeness software | Tools used for completion estimate, i.e. checkm, anvi'o, busco | names and versions of software(s) used | {software};{version} | checkm | sequencing | X | X | X | X | X | - | - | - | M | M | X |  | 1 | 68 | MIXS:0000070
| 69 |  |  | compl_appr | completeness approach | The approach used to determine the completeness of a given SAG or MAG, which would typically make use of a set of conserved marker genes or a closely related reference genome. For UViG completeness, include reference genome or group used, and contig feature suggesting a complete genome | enumeration | [marker gene¦reference based¦other] | other: UViG length compared to the average length of reference genomes from the P22virus genus (NCBI RefSeq v83) | sequencing | - | - | - | - | - | - | - | - | X | X | C |  | 1 | 69 | MIXS:0000071
| 71 |  |  | contam_screen_input | contamination screening input | The type of sequence data used as input | enumeration | [reads¦ contigs] | contigs | sequencing | - | - | - | - | - | - | - | - | X | X | - |  | 1 | 71 | MIXS:0000005
| 72 |  |  | contam_screen_param | contamination screening parameters | Specific parameters used in the decontamination sofware, such as reference database, coverage, and kmers. Combinations of these parameters may also be used, i.e. kmer and coverage, or reference database and kmer | enumeration;value or name | [ref db¦kmer¦coverage¦combination];{text¦integer} | kmer | sequencing | - | - | - | - | - | - | - | - | X | X | - |  | 1 | 72 | MIXS:0000073
| 74 |  |  | sort_tech | sorting technology | Method used to sort/isolate cells or particles of interest | enumeration | [flow cytometric cell sorting¦microfluidics¦lazer-tweezing¦optical manipulation¦micromanipulation¦other] | optical manipulation | sequencing | - | - | - | - | - | - | - | - | M | - | C |  | 1 | 74 | MIXS:0000075
| 75 |  |  | single_cell_lysis_appr | single cell or viral particle lysis approach | Method used to free DNA from interior of the cell(s) or particle(s) | enumeration | [chemical¦enzymatic¦physical¦combination] | enzymatic | sequencing | - | - | - | - | - | - | - | - | M | - | C |  | 1 | 75 | MIXS:0000076
| 76 |  |  | single_cell_lysis_prot | single cell or viral particle lysis kit protocol | Name of the kit or standard protocol used for cell(s) or particle(s) lysis | kit, protocol name | {text} | ambion single cell lysis kit | sequencing | - | - | - | - | - | - | - | - | X | - | C |  | 1 | 76 | MIXS:0000054
| 77 |  |  | wga_amp_appr | WGA amplification approach | Method used to amplify genomic DNA in preparation for sequencing | enumeration | [pcr based¦mda based] | mda based | sequencing | - | - | - | - | - | - | - | - | M | - | C |  | 1 | 77 | MIXS:0000055
| 78 |  |  | wga_amp_kit | WGA amplification kit | Kit used to amplify genomic DNA in preparation for sequencing | kit name | {text} | qiagen repli-g | sequencing | - | - | - | - | - | - | - | - | X | - | C |  | 1 | 78 | MIXS:0000006
| 79 |  |  | bin_param | binning parameters | The parameters that have been applied during the extraction of genomes from metagenomic datasets | enumeration | [homology search¦kmer¦coverage¦codon usage¦combination] | coverage and kmer | sequencing | - | - | - | - | - | - | - | - | - | M | C |  | 1 | 79 | MIXS:0000077
| 81 |  |  | reassembly_bin | reassembly post binning | Has an assembly been performed on a genome bin extracted from a metagenomic assembly? | boolean | {boolean} | no | sequencing | - | - | - | - | - | - | - | - | - | X | C |  | 1 | 81 | MIXS:0000079
| 82 |  |  | mag_cov_software | MAG coverage software | Tool(s) used to determine the genome coverage if coverage is used as a binning parameter in the extraction of genomes from metagenomic datasets | enumeration | [bwa¦bbmap¦bowtie¦other] | bbmap | sequencing | - | - | - | - | - | - | - | - | - | X | X |  | 1 | 82 | MIXS:0000080
| 83 |  |  | vir_ident_software | viral identification software | Tool(s) used for the identification of UViG as a viral genome, software or protocol name including version number, parameters, and cutoffs used | software name, version and relevant parameters | {software};{version};{parameters} | VirSorter; 1.0.4; Virome database, category 2 | sequencing | - | - | - | - | - | - | - | - | - | - | M |  | 1 | 83 | MIXS:0000081
| 84 |  |  | pred_genome_type | predicted genome type | Type of genome predicted for the UViG | enumeration | [DNA¦dsDNA¦ssDNA¦RNA¦dsRNA¦ssRNA¦ssRNA (+)¦ssRNA (-)¦mixed¦uncharacterized] | dsDNA | sequencing | - | - | - | - | - | - | - | - | - | - | M |  | 1 | 84 | MIXS:0000082
| 85 |  |  | pred_genome_struc | predicted genome structure | Expected structure of the viral genome | enumeration | [segmented¦non-segmented¦undetermined] | non-segmented | sequencing | - | - | - | - | - | - | - | - | - | - | M |  | 1 | 85 | MIXS:0000083
| 86 |  |  | detec_type | detection type | Type of UViG detection | enumeration | [independent sequence (UViG)¦provirus (UpViG)] | independent sequence (UViG) | sequencing | - | - | - | - | - | - | - | - | - | - | M |  | 1 | 86 | MIXS:0000084
| 87 |  |  | votu_class_appr | vOTU classification approach | Cutoffs and approach used when clustering new UViGs in “species-level” vOTUs. Note that results from standard 95% ANI / 85% AF clustering should be provided alongside vOTUS defined from another set of thresholds, even if the latter are the ones primarily used during the analysis | cutoffs and method used | {ANI cutoff};{AF cutoff};{clustering method} | 95% ANI;85% AF; greedy incremental clustering | sequencing | - | - | - | - | - | - | - | - | - | - | C |  | 1 | 87 | MIXS:0000085
| 88 |  |  | votu_seq_comp_appr | vOTU sequence comparison approach | Tool and thresholds used to compare sequences when computing "species-level" vOTUs | software name, version and relevant parameters | {software};{version};{parameters} | blastn;2.6.0+;e-value cutoff: 0.001 | sequencing | - | - | - | - | - | - | - | - | - | - | C |  | 1 | 88 | MIXS:0000086
| 89 |  |  | votu_db | vOTU database | Reference database (i.e. sequences not generated as part of the current study) used to cluster new genomes in "species-level" vOTUs, if any | database and version | {database};{version} | NCBI Viral RefSeq;83 | sequencing | - | - | - | - | - | - | - | - | - | - | C |  | 1 | 89 | MIXS:0000087
| 90 |  |  | host_pred_appr | host prediction approach | Tool or approach used for host prediction | enumeration | [provirus¦host sequence similarity¦CRISPR spacer match¦kmer similarity¦co-occurrence¦combination¦other] | CRISPR spacer match | sequencing | - | - | - | - | - | - | - | - | - | - | C |  | 1 | 90 | MIXS:0000088
| 91 |  |  | host_pred_est_acc | host prediction estimated accuracy | For each tool or approach used for host prediction, estimated false discovery rates should be included, either computed de novo or from the literature | false discovery rate | {text} | CRISPR spacer match: 0 or 1 mismatches, estimated 8% FDR at the host genus rank (Edwards et al. 2016 doi:10.1093/femsre/fuv048) | sequencing | - | - | - | - | - | - | - | - | - | - | C |  | 1 | 91 | MIXS:0000089
| 92 |  |  | url | relevant electronic resources |  | URL | {URL} | http://www.earthmicrobiome.org/ | sequencing | C | C | C | C | C | C | C | C | C | C | C |  | m | 92 | MIXS:0000091
| 93 |  |  | sop | relevant standard operating procedures | Standard operating procedures used in assembly and/or annotation of genomes, metagenomes or environmental sequences | reference to SOP | {PMID}¦{DOI}¦{URL} | http://press.igsb.anl.gov/earthmicrobiome/protocols-and-standards/its/ | sequencing | C | C | C | C | C | C | C | C | C | C | C |  | m | 93 | MIXS:0000090
| 96 |  |  | air_temp_regm | air temperature regimen | Information about treatment involving an exposure to varying temperatures; should include the temperature, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include different temperature regimens | temperature value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 25 degree Celsius;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | degree Celsius | m | 1 | MIXS:0000551
| 97 |  |  | ances_data | ancestral data | Information about either pedigree or other ancestral information description (e.g. parental variety in case of mutant or selection), e.g. A/3*B (meaning [(A x B) x B] x B) | free text | {text} | A/3*B | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001036
| 98 |  |  | antibiotic_regm | antibiotic regimen | Information about treatment involving antibiotic administration; should include the name of antibiotic, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple antibiotic regimens | antibiotic name;antibiotic amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | penicillin;5 milligram;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram | m | 1 | MIXS:0000553
| 99 |  |  | biol_stat | biological status | The level of genome modification | enumeration | [wild¦natural¦semi-natural¦inbred line¦breeder's line¦hybrid¦clonal selection¦mutant] | natural | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001037
| 100 |  |  | biotic_regm | biotic regimen | Information about treatment(s) involving use of biotic factors, such as bacteria, viruses or fungi. | free text | {text} | sample inoculated with Rhizobium spp. Culture | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001038
| 102 |  |  | chem_mutagen | chemical mutagen | Treatment involving use of mutagens; should include the name of mutagen, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple mutagen regimens | mutagen name;mutagen amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | nitrous acid;0.5 milligram per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | m | 1 | MIXS:0000555
| 104 |  |  | cult_root_med | culture rooting medium | Name or reference for the hydroponic or in vitro culture rooting medium; can be the name of a commonly used medium or reference to a specific medium, e.g. Murashige and Skoog medium. If the medium has not been formally published, use the rooting medium descriptors. | name, PMID,DOI or url | {text}¦{PMID}¦{DOI}¦{URL} | http://himedialabs.com/TD/PT158.pdf | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001041
| 105 |  |  | fertilizer_regm | fertilizer regimen | Information about treatment involving the use of fertilizers; should include the name of fertilizer, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple fertilizer regimens | fertilizer name;fertilizer amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | urea;0.6 milligram per liter;R2/2018-05-11:T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000556
| 106 |  |  | fungicide_regm | fungicide regimen | Information about treatment involving use of fungicides; should include the name of fungicide, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple fungicide regimens | fungicide name;fungicide amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | bifonazole;1 mole per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000557
| 107 |  |  | gaseous_environment | gaseous environment | Use of conditions with differing gaseous environments; should include the name of gaseous compound, amount administered, treatment duration, interval and total experimental duration; can include multiple gaseous environment regimens | gaseous compound name;gaseous compound amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | nitric oxide;0.5 micromole per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | micromole per liter | m | 1 | MIXS:0000558
| 108 |  |  | genetic_mod | genetic modification | Genetic modifications of the genome of an organism, which may occur naturally by spontaneous mutation, or be introduced by some experimental means, e.g. specification of a transgene or the gene knocked-out or details of transient transfection | PMID,DOI,url or free text | {PMID}¦{DOI}¦{URL}¦{text} | aox1A transgenic | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001042
| 109 |  |  | gravity | gravity | Information about treatment involving use of gravity factor to study various types of responses in presence, absence or modified levels of gravity; treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple treatments | gravity factor value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 12 g;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | meter per square second, g | m | 1 | MIXS:0000559
| 110 |  |  | growth_facil | growth facility | Type of facility where the sampled plant was grown; controlled vocabulary: growth chamber, open top chamber, glasshouse, experimental garden, field. Alternatively use Crop Ontology (CO) terms, see http://www.cropontology.org/ontology/CO_715/Crop%20Research | free text or CO | {text}¦{termLabel} {[termID]} | Growth chamber [CO_715:0000189] | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001043
| 111 |  |  | growth_habit | growth habit | Characteristic shape, appearance or growth form of a plant species | enumeration | [erect¦semi-erect¦spreading¦prostrate] | spreading | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001044
| 112 |  |  | growth_hormone_regm | growth hormone regimen | Information about treatment involving use of growth hormones; should include the name of growth hormone, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple growth hormone regimens | growth hormone name;growth hormone amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | abscisic acid;0.5 milligram per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000560
| 113 |  |  | herbicide_regm | herbicide regimen | Information about treatment involving use of herbicides; information about treatment involving use of growth hormones; should include the name of herbicide, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | herbicide name;herbicide amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | atrazine;10 milligram per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000561
| 117 |  |  | host_dry_mass | host dry mass | Measurement of dry mass | measurement value | {float} {unit} | 500 gram | plant-associated | X | X | X | X | X | X | X | X | X | X | X | kilogram, gram | 1 | 1 | MIXS:0000563
| 118 |  |  | host_genotype | host genotype | Observed genotype | genotype | {text} | Ts | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001047
| 119 |  |  | host_height | host height | The height of subject | measurement value | {float} {unit} | 1 meter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | centimeter, millimeter, meter | 1 | 1 | MIXS:0000564
| 120 |  |  | host_infra_specific_name | host infra-specific name | Taxonomic information about the host below subspecies level | name | {text} | glabrum | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001048
| 121 |  |  | host_infra_specific_rank | host infra-specific rank | Taxonomic rank information about the host below subspecies level, such as variety, form, rank etc. | rank | {text} | subvariety | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001049
| 122 |  |  | host_length | host length | The length of subject | measurement value | {float} {unit} | 1 meter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | centimeter, millimeter, meter | 1 | 1 | MIXS:0000565
| 123 |  |  | host_life_stage | host life stage | Description of life stage of host | stage | {text} | adult | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001050
| 124 |  |  | host_phenotype | host phenotype | Phenotype of human or other host. For phenotypic quality ontology (pato) (v 2018-03-27) terms, please see http://purl.bioontology.org/ontology/pato. For Human Phenotype Ontology (HP) (v 2018-06-13) please see http://purl.bioontology.org/ontology/HP | PATO or HP | {text};{termLabel} {[termID]} | seed pod; green [PATO:0000320] | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001024
| 127 |  |  | host_wet_mass | host wet mass | Measurement of wet mass | measurement value | {float} {unit} | 1500 gram | plant-associated | X | X | X | X | X | X | X | X | X | X | X | kilogram, gram | 1 | 1 | MIXS:0000567
| 128 |  |  | humidity_regm | humidity regimen | Information about treatment involving an exposure to varying degree of humidity; information about treatment involving use of growth hormones; should include amount of humidity administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | humidity value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 25 gram per cubic meter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram per cubic meter | m | 1 | MIXS:0000568
| 129 |  |  | light_regm | light regimen | Information about treatment(s) involving exposure to light, including both light intensity and quality. | exposure type;light intensity;light quality | {text};{float} {unit};{float} {unit} | incandescant light;10 lux;450 nanometer | plant-associated | X | X | X | X | X | X | X | X | X | X | X | lux; micrometer, nanometer, angstrom | 1 | 1 | MIXS:0000569
| 130 |  |  | mechanical_damage | mechanical damage | Information about any mechanical damage exerted on the plant; can include multiple damages and sites | damage type;body site | {text};{text} | pruning;bark | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001052
| 131 |  |  | mineral_nutr_regm | mineral nutrient regimen | Information about treatment involving the use of mineral supplements; should include the name of mineral nutrient, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple mineral nutrient regimens | mineral nutrient name;mineral nutrient amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | potassium;15 gram;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000570
| 133 |  |  | non_mineral_nutr_regm | non-mineral nutrient regimen | Information about treatment involving the exposure of plant to non-mineral nutrient such as oxygen, hydrogen or carbon; should include the name of non-mineral nutrient, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple non-mineral nutrient regimens | non-mineral nutrient name;non-mineral nutrient amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | carbon dioxide;10 mole per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000571
| 136 |  |  | ph_regm | pH regimen | Information about treatment involving exposure of plants to varying levels of ph of the growth media, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimen | measurement value;treatment interval and duration | {float};{Rn/start_time/end_time/duration} | 7.6;R2/2018-05-11:T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001056
| 138 |  |  | pesticide_regm | pesticide regimen | Information about treatment involving use of insecticides; should include the name of pesticide, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple pesticide regimens | pesticide name;pesticide amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | pyrethrum;0.6 milligram per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, mole per liter, milligram per liter | m | 1 | MIXS:0000573
| 139 |  |  | plant_growth_med | plant growth medium | Specification of the media for growing the plants or tissue cultured samples, e.g. soil, aeroponic, hydroponic, in vitro solid culture medium, in vitro liquid culture medium. Recommended value is a specific value from EO:plant growth medium (follow this link for terms http://purl.obolibrary.org/obo/EO_0007147) or other controlled vocabulary | EO | {termLabel} {[termID]} | hydroponic plant culture media [EO:0007067] | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001057
| 142 |  |  | plant_struc | plant structure | Name of plant structure the sample was obtained from; for Plant Ontology (PO) (v releases/2017-12-14) terms, see http://purl.bioontology.org/ontology/PO, e.g. petiole epidermis (PO_0000051). If an individual flower is sampled, the sex of it can be recorded here. | PO | {termLabel} {[termID]} | epidermis [PO:0005679] | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001060
| 143 |  |  | radiation_regm | radiation regimen | Information about treatment involving exposure of plant or a plant part to a particular radiation regimen; should include the radiation type, amount or intensity administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple radiation regimens | radiation type name;radiation amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | gamma radiation;60 gray;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | rad, gray | m | 1 | MIXS:0000575
| 144 |  |  | rainfall_regm | rainfall regimen | Information about treatment involving an exposure to a given amount of rainfall, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | measurement value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 15 millimeter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | millimeter | m | 1 | MIXS:0000576
| 145 |  |  | root_cond | rooting conditions | Relevant rooting conditions such as field plot size, sowing density, container dimensions, number of plants per container. | PMID,DOI,url or free text | {PMID}¦{DOI}¦{URL}¦{text} | http://himedialabs.com/TD/PT158.pdf | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001061
| 146 |  |  | root_med_carbon | rooting medium carbon | Source of organic carbon in the culture rooting medium; e.g. sucrose. | carbon source name;measurement value | {text};{float} {unit} | sucrose | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | 1 | 1 | MIXS:0000577
| 147 |  |  | root_med_macronutr | rooting medium macronutrients | Measurement of the culture rooting medium macronutrients (N,P, K, Ca, Mg, S); e.g. KH2PO4 (170 mg/L). | macronutrient name;measurement value | {text};{float} {unit} | KH2PO4;170 milligram per liter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | 1 | 1 | MIXS:0000578
| 148 |  |  | root_med_micronutr | rooting medium micronutrients | Measurement of the culture rooting medium micronutrients (Fe, Mn, Zn, B, Cu, Mo); e.g. H3BO3 (6.2 mg/L). | micronutrient name;measurement value | {text};{float} {unit} | H3BO3;6.2 milligram per liter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | 1 | 1 | MIXS:0000579
| 149 |  |  | root_med_suppl | rooting medium organic supplements | Organic supplements of the culture rooting medium, such as vitamins, amino acids, organic acids, antibiotics activated charcoal; e.g. nicotinic acid (0.5 mg/L). | supplement name;measurement value | {text};{float} {unit} | nicotinic acid;0.5 milligram per liter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | 1 | 1 | MIXS:0000580
| 150 |  |  | root_med_ph | rooting medium pH | pH measurement of the culture rooting medium; e.g. 5.5. | measurement value | {float} | 7.5 | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001062
| 151 |  |  | root_med_regl | rooting medium regulators | Growth regulators in the culture rooting medium such as cytokinins, auxins, gybberellins, abscisic acid; e.g. 0.5 mg/L NAA. | regulator name;measurement value | {text};{float} {unit} | abscisic acid;0.75 milligram per liter | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milligram per liter | 1 | 1 | MIXS:0000581
| 152 |  |  | root_med_solid | rooting medium solidifier | Specification of the solidifying agent in the culture rooting medium; e.g. agar. | name | {text} | agar | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001063
| 153 |  |  | salt_regm | salt regimen | Information about treatment involving use of salts as supplement to liquid and soil growth media; should include the name of salt, amount administered, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple salt regimens | salt name;salt amount;treatment interval and duration | {text};{float} {unit};{Rn/start_time/end_time/duration} | NaCl;5 gram per liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | gram, microgram, mole per liter, gram per liter | m | 1 | MIXS:0000582
| 154 |  |  | samp_capt_status | sample capture status | Reason for the sample | enumeration | [active surveillance in response to an outbreak¦active surveillance not initiated by an outbreak¦farm sample¦market sample¦other] | farm sample | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001064
| 155 |  |  | samp_dis_stage | sample disease stage | Stage of the disease at the time of sample collection, e.g. inoculation, penetration, infection, growth and reproduction, dissemination of pathogen. | free text | {text} | infection | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001065
| 161 |  |  | season_environment | seasonal environment | Treatment involving an exposure to a particular season (e.g. Winter, summer, rabi, rainy etc.), treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment | seasonal environment name;treatment interval and duration | {text};{Rn/start_time/end_time/duration} | rainy;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001068
| 162 |  |  | standing_water_regm | standing water regimen | Treatment involving an exposure to standing water during a plant's life span, types can be flood water or standing water, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | standing water type;treatment interval and duration | {text};{Rn/start_time/end_time/duration} | standing water;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | m | 1 | MIXS:0001069
| 164 |  |  | tiss_cult_growth_med | tissue culture growth media | Description of plant tissue culture growth media used | PMID,DOI,url or free text | {PMID}¦{DOI}¦{URL}¦{text} | https://link.springer.com/content/pdf/10.1007/BF02796489.pdf | plant-associated | X | X | X | X | X | X | X | X | X | X | X |  | 1 | 1 | MIXS:0001070
| 165 |  |  | water_temp_regm | water temperature regimen | Information about treatment involving an exposure to water with varying degree of temperature, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | measurement value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 15 degree Celsius;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | degree Celsius | m | 1 | MIXS:0000590
| 166 |  |  | watering_regm | watering regimen | Information about treatment involving an exposure to watering frequencies, treatment regimen including how many times the treatment was repeated, how long each treatment lasted, and the start and end time of the entire treatment; can include multiple regimens | measurement value;treatment interval and duration | {float} {unit};{Rn/start_time/end_time/duration} | 1 liter;R2/2018-05-11T14:30/2018-05-11T19:30/P1H30M | plant-associated | X | X | X | X | X | X | X | X | X | X | X | milliliter, liter | m | 1 | MIXS:0000591

## README(Ref)
The MIxS-plant associated checklist Column 1 - structured comment name: name of a checklist item as it will appear in GenBank structured comments Column 2 - item: full name of item as it appears in the publication Column 3 - definition: a description of the item, including links to ontologies and other resources that can be used to fill in values for the item Column 4 - expected value: short description and/or expected value of an item Column 5 - value syntax: the proper syntax for writing the value for a given item Column 6 - example: examples of values for an item Column 7 - section: the section of an item Columns 8 through 18-migs_eu,migs_ba,migs_pl,migs_vi,migs_org,me,mimarks_s,mimarks_c,misag,mimag,miuvig: information about whether an item is mandatory (M), conditional mandatory (C), optional (X), environment-dependent (E) or not applicable (-) for a given checklist type Column 19 - preferred units: a unit suggestion if a measurement value is given Column 20 - occurrence: indicates whether a given item can be used only once (1), multiple times (m), or none (0) Column 21 - position: position of item as it appears in the publication Column 22 - MIXS ID: a unique of an item
Values and Units All dates, times, durations and intervals should be written in ISO 8601 formats: Dates - [YYYY]-[MM]-[DD] > 1981-04-05 Times - [hh]:[mm]:[ss] > 13:47:30 Time zones - [hh]:[mm]:[ss]Z if in UTC (coordinated universal time) > 14:45:15Z - [hh]:[mm]:[ss]+-[hh]:[mm] if has offset from UTC > 22:30+04 Date and time - [YYYY]-[MM]-[DD]T[hh]:[mm] > 2007-04-05T14:30 Durations - P[n]Y[n]M[n]DT[n]H[n]M[n]S > P3Y6M4DT12H30M5S o P is the duration designator (historically called ""period"") placed at the start of the duration representation. o Y is the year designator that follows the value for the number of years. o M is the month designator that follows the value for the number of months. o W is the week designator that follows the value for the number of weeks. o D is the day designator that follows the value for the number of days. o T is the time designator that precedes the time components of the representation. o H is the hour designator that follows the value for the number of hours. o M is the minute designator that follows the value for the number of minutes. o S is the second designator that follows the value for the number of seconds. Time intervals - [YYYY]-[MM]-[DD]T[hh]:[mm]:[ss]TZD/[YYYY]-[MM]-[DD]T[hh]:[mm]:[ss]TZD > 2007-03-01T13:00:00Z/2008-05-11T15:30:00Z Units - Except a few cases, strict units are not defined for items in the MIxS checklists, wherever applicable the unit of choice should accompany the value of an item. The units should be in accordance with the The International System of Units (SI). - For SI base and derived units, please see http://physics.nist.gov/cuu/Units/units.html - For SI prefixes, please see http://physics.nist.gov/cuu/Units/prefixes.html - For units outside SI, please see http://physics.nist.gov/cuu/Units/outside.html - For SI unit rules and syle conventions, please see http://physics.nist.gov/cuu/Units/checklist.html